How to use this kitchen inspection checklist

- Use this checklist to inspect food preparation areas, associated storage areas and seating areas.

- Inspections should be carried out at least once per year.  Inspections should be done when the bar is occupied by staff and students, to get a true picture of conditions and practices.

- Consider getting a team together to help you.  The team should be limited to four people.

- Carry out inspections in manageable chunks.  Divide your area into separate sections.  Use one checklist per section and record details of faults or weaknesses.

- When you have carried out an inspection and recorded any faults or weaknesses found, report to your Head of School or Office, together with your comments and recommendations for action.

- Keep a copy of each completed inspection checklist and record action taken to correct the faults you have reported.

KITCHEN INSPECTION CHECKLIST

- Use this checklist to inspect food preparation areas, associated storage areas and seating areas.

- The answer to all these questions should be ‘yes’.  If ‘no’ you should note the location and brief details and investigate the problem further to identify actions.

| Areas inspected |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Inspected by |  |  |  |  | Date |  |

| HAZARD | YES/NO | COMMENTS (location & brief details) | ACTION TAKEN or RECOMMENDED (with completion dates) |
| --- | --- | --- | --- |
| Cleanliness |  |  |  |
| Are work surfaces, shelves & floor kept clean & tidy? |  |  |  |
| Are walls & ceilings clean & in good condition? (not cracked, chipped or peeling) |  |  |  |
| Are all surfaces easy to wash down? |  |  |  |
| Are equipment, crockery & utensils cleaned thoroughly after use? |  |  |  |
| Are sinks and drains working properly? (not blocked or smelling) |  |  |  |
| Is deep cleaning carried out regularly? (note when last carried out) |  |  |  |
| Is the goods delivery area kept clean & free from clutter? |  |  |  |
| Disposal of Waste |  |  |  |
| Are waste food & other waste removed from the kitchen at least once per day? |  |  |  |
| Is waste cooking oil & fat disposed of correctly? (via a specialist collection agent) |  |  |  |
| Is waste stored in a bin or similar container with a tightly fitting lid? |  |  |  |
| Are broken glass & other sharp waste put in a puncture-proof container or wrapping before disposal into a bin? |  |  |  |
| Are refuse bins kept at a distance from the kitchen? |  |  |  |
| Are refuse bins emptied regularly? (according to waste disposal contract) |  |  |  |
| Are trolleys available for moving heavy or large loads? (manual handling assessments needed for handling heavy or awkward loads) |  |  |  |
| Food Hygiene |  |  |  |
| Are staff trained in basic food hygiene practices? (check training records) |  |  |  |
| Are food deliveries attended to immediately? |  |  |  |
| Is cooked & raw food stored & prepared separately? |  |  |  |
| Are refrigerators & freezers clean & working properly? (freezer temperature -18oC or less) |  |  |  |
| Are other cool storage areas below 10oC? |  |  |  |
| Is the temperature of food display cabinets checked regularly? |  |  |  |
| Pest Control |  |  |  |
| Are kitchen, servery & storage areas regularly checked for pest (mice, insects, etc) infestations? (note date of last check & name of pest control company) |  |  |  |
| Are pest control visits made out of hours e.g. at night? (note arrangements for this) |  |  |  |
| Are fly screens in place at all opening windows & vents? |  |  |  |
| Are electric fly killer units in working order & maintained regularly? |  |  |  |
| Toilets and washing facilities |  |  |  |
| Are there enough toilets for men and women? (not for customers use) |  |  |  |
| Are toilets and washbasins clean and in working order? |  |  |  |
| Are hot and cold (or warm) running water, soap and towels (or other cleaning/hand drying facilities) provided in the toilets? |  |  |  |
| Are lockers provided for staff clothing & bags? |  |  |  |
| Is there a rest area away from the kitchen, where staff can sit, eat & drink? (may be part of dining area |  |  |  |
| Ventilation |  |  |  |
| Are cooking smells & steam removed from the room? |  |  |  |
| Is there a supply of fresh air with no draughts? |  |  |  |
| Are mechanical extract ventilation systems checked & maintained annually? |  |  |  |
| Lighting |  |  |  |
| Is the lighting bright enough, especially over work surfaces & cookers? |  |  |  |
| Are steps, stairs & storerooms properly lit? |  |  |  |
| Are light shades & diffusers clean & in good condition? |  |  |  |
| Slips, Trips and Manual Handling |  |  |  |
| Is the floor in a good condition? (no cracks, bumps or worn bits) |  |  |  |
| Is the floor free from obstructions? (such as boxes or rubbish) |  |  |  |
| Are floor surfaces slip resistant? |  |  |  |
| Are spills cleared up immediately? |  |  |  |
| Are ‘caution – wet floor’ signs used when floors have been washed? |  |  |  |
| Are staff wearing suitable closed-in, slip resistant shoes? |  |  |  |
| Are steps & stools provided where needed? |  |  |  |
| Are steps & stools in safe condition? (not broken or wobbly) |  |  |  |
| Have manual handling risks been assessed & controlled? (check risk assessment records) |  |  |  |
| Fire Precautions |  |  |  |
| Are fire exits & escape routes free of obstructions? |  |  |  |
| Are fire doors clearly marked & kept closed? |  |  |  |
| Do fire door closing mechanisms operate properly? |  |  |  |
| Are vision panels in doors unobstructed? |  |  |  |
| Are fire extinguishers provided and tested annually?(check last test date on label) |  |  |  |
| Are fire blankets provided & checked annually? (check last test date on label) |  |  |  |
| Have staff been trained in use of fire blankets? (check training records) |  |  |  |
| Are up to date fire action notices displayed where staff can read them? (what to do in event of fire & fire assembly points) |  |  |  |
| Can fire alarms be heard in all areas, including storerooms and toilets? |  |  |  |
| Are fire drills carried out at least once per term? (check fire evacuation records) |  |  |  |
| Are ‘no smoking’ rules followed? (look for cigarette butts) |  |  |  |
| Machinery and Equipment |  |  |  |
| Are staff trained to use & clean food preparation equipment safely? (check training records) |  |  |  |
| Is machinery and equipment regularly inspected & maintained? (fixed equipment every six months) |  |  |  |
| Is there a procedure for reporting faulty machinery or equipment & taking it out of use until mended? (note details of this procedure) |  |  |  |
| Is dangerous machinery operated with guards in place? (e.g. mincers, bacon slicers, potato chippers, food mixers) |  |  |  |
| Are these dangerous machines only operated by trained staff over the age of 18? |  |  |  |
| Electrical Safety |  |  |  |
| Are electrical sockets and equipment placed away from sinks and hotplates? |  |  |  |
| Is electrical equipment regularly inspected and tested? |  |  |  |
| portable electrical equipment tested every 3 years – check test labels |  |  |  |
| Does all electrical equipment pass visual inspection? |  |  |  |
| Visual inspection of equipment Switch off and disconnect (unplug) equipment before inspecting. Then look for danger signs |  |  |  |
| - is the cable covering intact? |  |  |  |
| - damage to the plug - is the casing intact and pins straight? |  |  |  |
| - is the lead intact without any joins?. |  |  |  |
| - the outer covering of the cable is gripped where it enters the plug or equipment - see if the coloured insulation or copper of the internal wires are completely covered. |  |  |  |
| - the plug, equipment or socket is free from indications of overheating (eg brown burn marks) label any faulty equipment with ‘do not use’ signs & take out of use until checked by an electrician. Encourage other staff to report any faults or damaged equipment |  |  |  |
| Gas Safety |  |  |  |
| Are gas appliances regularly checked & serviced by qualified fitters? (every six months) |  |  |  |
| Are staff trained to use gas appliances safely? (check training records) |  |  |  |
| Do staff know what to do in a event of a gas leak? (turn off gas supply, evacuate the area, notify Estates department immediately) |  |  |  |
| Chemicals |  |  |  |
| Are all chemicals clearly labelled? (e.g. cleaning materials, disinfectants, detergents, pest killers) |  |  |  |
| Have staff been trained to use these chemicals safely? (check training records) |  |  |  |
| Do staff know what to do in an emergency? |  |  |  |
| Protective Clothing |  |  |  |
| Are rubber or plastic gloves provided to protect against skin damage from hot water, detergents, disinfectants & other chemicals? |  |  |  |
| Are cotton inner-gloves available for handling broken glass & other sharp waste material? |  |  |  |
| Are padded gloves available for handling broken glass and other sharp waste material? |  |  |  |
| Is eye protection (goggles or visors) provided where there is a danger of eye damage from splashes or machinery? |  |  |  |
| Are heatproof gloves or gauntlets provided for taking dishes in & out of hot ovens? |  |  |  |
| Is all protective clothing replaced as soon as it is worn out or damaged? |  |  |  |
| Are clean overalls provided at least twice per week? |  |  |  |
| Are clean hair coverings (caps, snoods etc.) provided when needed? |  |  |  |
| First Aid |  |  |  |
| Are up to date posters displayed with names & locations of trained first aiders? |  |  |  |
| Are first aid boxes clearly marked and fully stocked? |  |  |  |
| Accidents and Illness |  |  |  |
| Are accidents reported in an accident book & on the University Accident Report Form? (check accident book and records) |  |  |  |
| Are near misses & illnesses caused by work also recorded? (check accident book and records) |  |  |  |
| Do staff report symptoms which may cause food poisoning? (diarrhoea, vomiting, skins rashes, boils, fever, discharges from ear or nose) |  |  |  |
| Is there a procedure for referring employees with these symptoms, for a medical opinion on their fitness for work? |  |  |  |
| Other Hazards/Notes |  |  |  |